Compensation of voltage flicker by using facts devices

ABSTRACT

Voltage flicker occurs when heavy loads are periodically turned on and off in a weak distribution system. If the distribution system’s short circuit capacity is not large enough, voltage fluctuations will occur. Voltage flickering can be extremely harmful to sensitive electronic equipment. Computerized equipment requires stable voltage to perform properly.

This paper covers the contrasting approaches; dealing with the voltage flicker mitigation in three stages and assessing the related results in details. Initially, the voltage flicker mitigation, using FCTCR (Fixed Capacitor Thyristor Controlled Reactor), was simulated. Secondly, the compensation for the Static Synchronous Compensator (STATCOM) has been performed.

In this case, injection of harmonics into the system caused some problems which were later overcome by using 12-pulse assignment of SATCOM and RLC filters. The obtained results show that STATCOM is very efficient and effective for the flicker compensation.

In this paper harmonics in the system are overcome by the use of STATCOM and results are tested in MATLAB\SIMULINK software

Block diagram for proposed

The studied power system with STATCOM

DESIGNG SOFTWARE AND TOOLS:

MAT LAB /SIMULATION Software and sim power systems tools are used. Mainly control system tools, power electronics and electrical elements tools are used.