WIND ENERGY CONVERSION SYSTEM USING CASCADED H-BRIDGE MULTI LEVEL INVERTER

ABSTRACT

In this paper cascaded H-bridge multilevel inverter operation is explained. Here maximum power is extracted from a wind energy conversion system using permanent magnet synchronous generator along with cascaded H bridge multi-level inverter. The copper losses in the rotor are eliminated and higher efficiency is obtained by using permanent magnet synchronous generator.

To overcome the limitations linked to maximum voltage a blocking capability of existing power semiconductor devices, several new techniques and topologies have been developed, such as diode-clamped inverter, Flying capacitor inverter, and cascaded H-bridge inverter . A number of modulation techniques are used in multilevel inverters.

The design of a wind turbine system is to be done complicated task due to the parameters involved and  the  often  conflicting  requirements,  such  as  the low  cost, ruggedness, good output power quality and dynamic characteristics[2]-[4].To get variable speed operation, a power electronics converter interface is used to connect the generator to the  grid,  which  is  shown  in  fig.1.To  overcome  the limitations  linked  to  maximum  voltage  a  blocking capability  of  existing  power  semiconductor  devices, several  new  techniques  and  topologies  have  been developed,  such  as  diode-clamped  inverter,  Flying capacitor inverter, and cascaded H-bridge inverter . A number of modulation techniques are used in multilevel inverters [11].  They can generally be classified into three categories: Multi-step, staircase of fundamental frequency switching;

Space Vector PWM (SVPWM);

Multi-carrier PWM.

This paper focuses on space vector PWM techniques which have been extended for use in cascaded H-bridge multi-level inverter topologies. By using SVPWM method for cascaded H bridge multi-level inverter. A five level cascaded H-bridge multilevel inverter circuit along with PMSG based WECS is simulated using MATLAB. Modeling and simulation results of a PMSG based variable speed wind energy system is analyzed in this paper.

BLOCK DIAGRAM FOR PROPOSED SYSTEM

DESIGNG SOFTWARE AND TOOLS:

MAT LAB /SIMULATION Software and sim power systems tools are used. Mainly control system tools, power electronics and electrical elements tools are used.