ELECTICAL LINE PROTECTION BASED ON CIRCUIT BREAKER

AIM:

The main aim of the project is to measure the current of the loads. When the current becomes too high, the breaker will cut off the circuit to stop it.

PURPOSE:

Industrial instruments failures have many causes and one of the main causes is over load.  If the current flowing through that instrument is more than the rated current, then immediately the System may burn because of over load, through this project we are going to protect from over load condition.

METHODOLOGY:

BLOCK DIAGRAM:

POWER SUPPLY:

DESCRIPTION:

Circuit Breakers are devices that stop the electrical current of a circuit in the event of excess or very high current. Circuit breakers are handy, not only because they can protect against electrical fires but also because they can be reset. When a fuse blows out, it must be replaced each time, whereas circuit breakers are easily reset when tripped.

Each appliance in your home receives electrical currents by way of electrical circuit breakers. Circuit breakers are considered to be either main or individual. The main circuit breaker controls power to the entire house while individual circuit breakers transmit power to individual appliances.

Electrical circuit breakers are probably the most important safety feature in a building. A circuit breaker measures the amount of heat produced by the current or by the magnetic field created by the small coil inside the breaker. When the current becomes too high, the breaker will cut off the circuit to stop it. Fuses serve the same function but can only be used once. Anyone who has blown a fuse can tell you it is much easier to have circuit breakers.

In the present project for the demonstration purpose we are going to measure the current flowing through circuit by using current sensing circuit and when it exceeds some certain limit then we are going to trip the total circuit by using one relay. Here we are using CT (current transformer) for measuring the current.

For protection of equipments from over current condition first we have to measure the total load current which is flowing in circuit. Here we are using CT for measuring the load current and the output of CT is given to ADC for converting analog output of CT into digital data. That ADC output is given to microcontroller for monitoring purpose. When current are increases certain limit then we are going to trip the load by using relay. In this project we are using 230v bulbs as a load. We are going to increase the load by increasing the number of bulbs ON. When we ON more bulbs it causes over load condition and microcontroller will detect that and it will trip the total load by using relay. In this project we are using 230v, 7 amp relay for tripping purpose. Here we are using LCD for displaying the total load current which is flowing in the circuit.

HARDWARE USED:

- Microcontroller

- Power supply

- Relay

- LCD

- Loads

- ADC 0804

- Current Transformer

SOFTWARE USED:

- Keil micro vision

- Embedded C

- Express PCB

APPLICATIONS:

- This project is used for protecting Bus bars in sub stations, generating stations etc.

- Used for Industrial appliances protection

RESULT:

Hence, by implementing this project we can protect the appliances from over load.

# Text boxes

LCD

Load

MAIN Supply

RELAY

Current sensor

Power

Supply

MICRO

CONTROLLER

Regulator         section

Filter

Circuit

Bridge

Rectifier

Step Down

Transformer